## Plates & Screws EN
Reconstruction Set Product List
REF. № | GTIN | DESCRIPTION | SET QTY.
STRAIGHT PLATES
37.ST.1300.0 | 8698940183963 | Ø2.7 mm TITANIUM RECONSTRUCTION PLATE 13 HOLES | 1
37.ST.1400.0 | 8698940183970 | Ø2.7 mm TITANIUM RECONSTRUCTION PLATE 14 HOLES | 1
37.ST.1500.0 | 8698940183987 | Ø2.7 mm TITANIUM RECONSTRUCTION PLATE 15 HOLES | 1
37.ST.1600.0 | 8698940183994 | Ø2.7 mm TITANIUM RECONSTRUCTION PLATE 16 HOLES | 1
37.ST.1800.0 | 8698940184007 | Ø2.7 mm TITANIUM RECONSTRUCTION PLATE 18 HOLES | 1
37.ST.1900.0 | 8698940184014 | Ø2.7 mm TITANIUM RECONSTRUCTION PLATE 19 HOLES | 1
37.ST.2100.0 | 8698940184021 | Ø2.7 mm TITANIUM RECONSTRUCTION PLATE 21 HOLES | 1
37.RA.1200.R | 8698940184038 | Ø2.7 mm TITANIUM RECONSTRUCTION ANGULAR PLATE 12 HOLES RIGHT | 1
37.RA.1200.L | 8698940184045 | Ø2.7 mm TITANIUM RECONSTRUCTION ANGULAR PLATE 12 HOLES LEFT | 1
37.RA.1500.R | 8698940184052 | Ø2.7 mm TITANIUM RECONSTRUCTION ANGULAR PLATE 15 HOLES RIGHT | 1
37.RA.1500.L | 8698940184069 | Ø2.7 mm TITANIUM RECONSTRUCTION ANGULAR PLATE 15 HOLES LEFT | 1
37.RA.1700.R | 8698940184076 | Ø2.7 mm TITANIUM RECONSTRUCTION ANGULAR PLATE 17 HOLES RIGHT | 1
37.RA.1700.L | 8698940184083 | Ø2.7 mm TITANIUM RECONSTRUCTION ANGULAR PLATE 17 HOLES LEFT | 1
37.RA.2000.R | 8698940184090 | Ø2.7 mm TITANIUM RECONSTRUCTION ANGULAR PLATE 20 HOLES RIGHT | 1
37.RA.2000.L | 8698940184106 | Ø2.7 mm TITANIUM RECONSTRUCTION ANGULAR PLATE 20 HOLES RIGHT | 1
37.DA.2200.0 | 8698940184120 | Ø2.7 mm TITANIUM RECONSTRUCTION DOUBLE ANGULAR PLATE 22 HOLES | 1
RECONSTRUCTION COMPRESSION PLATES
37.CA.0400.L | 8698940184137 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION ANGULAR PLATE 4 HOLES LEFT | 1
37.CA.0400.R | 8698940184144 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION ANGULAR PLATE 4 HOLES RIGHT | 1
37.CA.0401.L | 8698940184151 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION ANGULAR LONG PLATE 4 HOLES LEFT | 1
37.CA.0401.R | 8698940184168 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION ANGULAR LONG PLATE 4 HOLES RIGHT | 1
37.CA.0600.L | 8698940184175 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION ANGULAR PLATE 6 HOLES LEFT | 1
37.CA.0600.R | 8698940184182 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION ANGULAR PLATE 6 HOLES RIGHT | 1
37.CS.0412.0 | 8698940184199 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION PLATE 4 HOLES 12 mm SPACED | 1
37.CS.0415.0 | 8698940184205 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION PLATE 4 HOLES 15 mm SPACED | 1
37.CS.0612.0 | 8698940184212 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION PLATE 6 HOLES 12 mm SPACED | 1
37.CS.0800.0 | 8698940184229 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION PLATE 8 HOLES | 1
37.CS.1600.0 | 8698940184236 | Ø2.7 mm TITANIUM RECONSTRUCTION COMPRESSION PLATE 16 HOLES | 1
RECONSTRUCTION SCREWS
37.MS.2707.0 | 8698940184755 | Ø2.7 mm TITANIUM RECONSTRUCTION SCREW 7.0 mm | 15
37.MS.2709.0 | 8698940184243 | Ø2.7 mm TITANIUM RECONSTRUCTION SCREW 9.0 mm | 15
37.MS.2711.0 | 8698940184250 | Ø2.7 mm TITANIUM RECONSTRUCTION SCREW 11.0 mm | 15
37.MS.2713.0 | 8698940184267 | Ø2.7 mm TITANIUM RECONSTRUCTION SCREW 13.0 mm | 15
37.MS.2715.0 | 8698940184274 | Ø2.7 mm TITANIUM RECONSTRUCTION SCREW 15.0 mm | 15
37.MS.2717.0 | 8698940184281 | Ø2.7 mm TITANIUM RECONSTRUCTION SCREW 17.0 mm | 15
37.MS.2719.0 | 8698940185189 | Ø2.7 mm TITANIUM RECONSTRUCTION SCREW 19.0 mm | 15
37.MS.3009.0 | 8698940184298 | Ø3.0 mm TITANIUM RECONSTRUCTION EMG SCREW 9.0 mm | 15
RECONSTRUCTION DRILL
37.DR.2125.0 | 8698940184304 | Ø2.1 mm x 105 mm DRILL BIT DEPTH 25 mm | 1
HAND TOOLS
37.EA.0500.0 | 8698940185165 | RECONSTRUCTION PLATE CUTTER | 1
35.EA.0900.1 | 8698940185141 | PLATE HOLDER | 1
37.EA.1100.0 | 8681248108288 | RECONSTRUCTION SCREWDRIVER | 2
60.PB.0000.3 | 8681248107106 | 3D PLATE BENDER | 1
37.EA.0300.0 | 8698940184366 | DOUBLE PLATE BENDER
37.MP.0000.2 | 8698940184335 | RECONSTRUCTION PLATE BOX | 1
60.OR.0000.0 | 8681248108332 | INSTRUMENT ORGANIZER | 1
60.SC.0000.1 | 8681248107137 | CONTAINER | 1

## Plates & Screws TR
Rekonstrüksion Set Ürün Listesi
REF. № | GTIN | AÇIKLAMA | SET MİK.
STRAIGHT PLAKLAR
37.ST.1300.0 | 8698940183963 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON PLAK 13 DELİKLİ | 1
37.ST.1400.0 | 8698940183970 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON PLAK 14 DELİKLİ | 1
37.ST.1500.0 | 8698940183987 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON PLAK 15 DELİKLİ | 1
37.ST.1600.0 | 8698940183994 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON PLAK 16 DELİKLİ | 1
37.ST.1800.0 | 8698940184007 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON PLAK 18 DELİKLİ | 1
37.ST.1900.0 | 8698940184014 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON PLAK 19 DELİKLİ | 1
37.ST.2100.0 | 8698940184021 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON PLAK 21 DELİKLİ | 1
37.RA.1200.R | 8698940184038 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON AÇILI PLAK 12 DELİKLİ SAĞ | 1
37.RA.1200.L | 8698940184045 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON AÇILI PLAK 12 DELİKLİ SOL | 1
37.RA.1500.R | 8698940184052 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON AÇILI PLAK 15 DELİKLİ SAĞ | 1
37.RA.1500.L | 8698940184069 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON AÇILI PLAK 15 DELİKLİ SOL | 1
37.RA.1700.R | 8698940184076 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON AÇILI PLAK 17 DELİKLİ SAĞ | 1
37.RA.1700.L | 8698940184083 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON AÇILI PLAK 17 DELİKLİ SOL | 1
37.RA.2000.R | 8698940184090 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON AÇILI PLAK 20 DELİKLİ SAĞ | 1
37.RA.2000.L | 8698940184106 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON AÇILI PLAK 20 DELİKLİ SAĞ | 1
37.DA.2200.0 | 8698940184120 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON ÇİFT AÇILI PLAK 22 DELİKLİ | 1
REKONSTRÜKSİYON KOMPRESYON PLAKLAR
37.CA.0400.L | 8698940184137 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON AÇILI PLAK 4 DELİKLİ SOL | 1
37.CA.0400.R | 8698940184144 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON AÇILI PLAK 4 DELİKLİ SAĞ | 1
37.CA.0401.L | 8698940184151 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON AÇILI LONG PLAK 4 DELİKLİ SOL | 1
37.CA.0401.R | 8698940184168 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON AÇILI LONG PLAK 4 DELİKLİ SAĞ | 1
37.CA.0600.L | 8698940184175 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON AÇILI PLAK 6 DELİKLİ SOL | 1
37.CA.0600.R | 8698940184182 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON AÇILI PLAK 6 DELİKLİ SAĞ | 1
37.CS.0412.0 | 8698940184199 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON PLAK 4 DELİKLİ 12 mm ARALIKLI | 1
37.CS.0415.0 | 8698940184205 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON PLAK 4 DELİKLİ 15 mm ARALIKLI | 1
37.CS.0612.0 | 8698940184212 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON PLAK 6 DELİKLİ 12 mm ARALIKLI | 1
37.CS.0800.0 | 8698940184229 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON PLAK 8 DELİKLİ | 1
37.CS.1600.0 | 8698940184236 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON KOMPRESYON PLAK 16 DELİKLİ | 1
REKONSTRÜKSİYON VİDALAR
37.MS.2707.0 | 8698940184755 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON VİDA 7.0 mm | 15
37.MS.2709.0 | 8698940184243 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON VİDA 9.0 mm | 15
37.MS.2711.0 | 8698940184250 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON VİDA 11.0 mm | 15
37.MS.2713.0 | 8698940184267 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON VİDA 13.0 mm | 15
37.MS.2715.0 | 8698940184274 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON VİDA 15.0 mm | 15
37.MS.2717.0 | 8698940184281 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON VİDA 17.0 mm | 15
37.MS.2719.0 | 8698940185189 | Ø2.7 mm TİTANYUM REKONSTRÜKSİYON VİDA 19.0 mm | 15
37.MS.3009.0 | 8698940184298 | Ø3.0 mm TİTANYUM REKONSTRÜKSİYON EMG VİDA 9.0 mm | 15
REKONSTRÜKSİYON MATKAP UÇLARI
37.DR.2125.0 | 8698940184304 | Ø2.1 mm x 105 mm MATKAP UCU DERİNLİK 25 mm | 1
CERRAHİ EL ALETLERİ
37.EA.0500.0 | 8698940185165 | REKONSTRÜKSİYON PLAK KESİCİ | 1
35.EA.0900.1 | 8698940185141 | PLAK TUTUCU | 1
37.EA.1100.0 | 8681248108288 | REKONSTRÜKSİYON TORNAVİDA | 2
60.PB.0000.3 | 8681248107106 | 3D PLAK BÜKÜCÜ | 1
37.EA.0300.0 | 8698940184366 | ÇİFTLİ PLAK BÜKÜCÜ | 1
37.MP.0000.2 | 8698940184335 | REKONSTRÜKSİYON PLAK TABLASI | 1
60.OR.0000.0 | 8681248108332 | EL ALET SEPETİ | 1
60.SC.0000.1 | 8681248107137 | STERİLİZASYON KONTEYNERİ | 1